# 64-channel electrode configuration for MEGIN Triux neo at CBU

Note: The numbers in the image do NOT refer to the sequence of electrodes in the data file. This sequence is specified in the column “Sequence in data” in below table.

| Label | Sequence in data | Digitisation Order |
| --- | --- | --- |
| PO9 | 1 | 1 |
| FPz | 2 | 2 |
| PO10 | 3 | 3 |
| AF7 | 4 | 4 |
| AF3 | 5 | 5 |
| Afz | 6 | 6 |
| AF4 | 7 | 7 |
| AF8 | 8 | 8 |
| F7 | 9 | 9 |
| F5 | 10 | 10 |
| F3 | 11 | 11 |
| F1 | 12 | 12 |
| Fz | 13 | 13 |
| F2 | 14 | 14 |
| F4 | 15 | 15 |
| F6 | 16 | 16 |
| F8 | 17 | 17 |
| PO4 | 18 | 59 |
| FT7 | 19 | 18 |
| FC5 | 20 | 19 |
| FC3 | 21 | 20 |
| FC1 | 22 | 21 |
| FCz | 23 | 22 |
| FC2 | 24 | 23 |
| FC4 | 25 | 24 |
| FC6 | 26 | 25 |
| FT8 | 27 | 26 |
| PO8 | 28 | 60 |
| O1 | 29 | 61 |
| T7 | 30 | 27 |
| C5 | 31 | 28 |
| C3 | 32 | 29 |
| C1 | 33 | 30 |
| Cz | 34 | 31 |
| C2 | 35 | 32 |
| C4 | 36 | 33 |
| C6 | 37 | 34 |
| T8 | 38 | 35 |
| Oz | 39 | 62 |
| TP9 | 40 | 36 |
| TP7 | 41 | 37 |
| CP5 | 42 | 38 |
| CP3 | 43 | 39 |
| CP1 | 44 | 40 |
| CPz | 45 | 41 |
| CP2 | 46 | 42 |
| CP4 | 47 | 43 |
| CP6 | 48 | 44 |
| TP8 | 49 | 45 |
| TP10 | 50 | 46 |
| O2 | 51 | 63 |
| P7 | 52 | 47 |
| P5 | 53 | 48 |
| P3 | 54 | 49 |
| P1 | 55 | 50 |
| Pz | 56 | 51 |
| P2 | 57 | 52 |
| P4 | 58 | 53 |
| P6 | 59 | 54 |
| P8 | 60 | 55 |
| Iz | 61 | 64 |
| PO7 | 62 | 56 |
| PO3 | 63 | 57 |
| POz | 64 | 58 |